AED Inspection Record Sheet

Date:

Time:

Inspected by:

AED Identification (Serial Number):

Inspection Checklist (please tick)

Pass                          Fail

| Status Indicator is GREEN in colour: |  |
| --- | --- |

Exterior/Cables:

| Nothing stored on top of unit |  |
| --- | --- |

Carry case is intact and clean

Exterior of AED is clean/undamaged

Cables clean/undamaged

Cables securely attached to unit

Electrodes present and attached to cables

Attached electrodes in date

Battery:

| Batteries present and attached to unit |  |
| --- | --- |

Batteries in date

Supplies:

| Set of spare electrodes present |  |
| --- | --- |

Electrodes in sealed packages and in date

Razor

Towel

Wipes

Shears

Mask

Gloves (medium/large)

| Operation: |  |
| --- | --- |

Unit self-test as per instructions

- visual indicators

- verbal prompts

Signature: